SECTION 02530

SANITARY SEWERAGE SYSTEMS

PART 1 - GENERAL

1.1	Description

1.	Work Included:  Furnish all labor, materials, tools, transportation, supplies, plant equipment, and appurtenances necessary for the complete and satisfactory construction of the sanitary sewer lines as shown on the plans, completed and ready for service.

2.	Related Sections:  Additional Sections of the Documents which are referenced in this Section include:

1)	Section 02080 - Utility Pipe and Materials

2)	Section 02085 - Valves and Cocks

3)	Section 02317 – Excavation, Trenching, and Backfilling for Utilities

1.2	references

1.	General:  The work shall comply with the most recent standards or tentative standards as published at the date of the contract and as listed in this specification using the abbreviation shown.

Part 2 - products

2.1	gravity sewer

1.	General:  Gravity sewer pipe shall be PVC or ductile iron pipe, in accordance with Section 02080 – Utility Pipe and Materials at the CONTRACTOR’s option except where specified otherwise in Section 02080 – Utility Pipe and Materials or on the plans.

2.	PVC Pipe:  PVC gravity sewer pipe shall be SDR 35 except when plans specify the use of AWWA pressure pipe for gravity sewer as in the case of water main crossings or parallel to water mains in close proximity.

3.	Ductile Iron Pipe:  Ductile iron pipe shall be Pressure Class 350.

4.	Fittings:  Tees, wyes, or other miscellaneous fittings shall be of the same material and type as the gravity sewer pipe provided.

2.2	manholes and structures

1.	Manhole:  Manholes shall be in accordance with Section 02080 – Utility Pipe and Materials.

Part 3 - execution

3.1	Separation of water lines and sewers

1.	General:  Sanitary sewer shall be separated from water lines in accordance with Section 02080 – Utility Pipe and Materials.

3.2	installation of pipe, fittings, and PRECAST STRUCTURES

1.	General:  Installation and testing of pipe, fittings, and appurtenances shall be in accordance with Section 02080 – Utility Pipe and Materials.

END OF SECTION